## Slide 1: Chapter 11: Display Modes

## Slide 2: A-Mode: Amplitude
Provides measurements of distance between the probe and reflector
When pulse is emitted, a dot moves across the screen at a constant speed. When an echo returns, an upward deflection proportional to the amplitude of the returning echo is observed.
X-axis- reflector depth/ pulse’s time of flight
Y-axis-amplitude of echo

## Slide 4: B-Mode: Brightness
Returning echoes are presented as spots on the line of travel emitted by the ultrasound pulse. The stronger the returning echo, the brighter the spot.
X-axis-reflector depth
Z-axis-amplitude of echoes (brightness of dot)

## Slide 5
X- axis of B-Mode represents reflector depth.

## Slide 6: M Mode: Motion
Motion mode -lines that represent motion of the reflecting body surfaces as the occur in time. Related to location.
The only mode that displays the changing position of reflectors with respect to time.
X-axis-time
Y-axis-reflector depth

## Slide 7: M-Mode

## Slide 8: Know This!
MODE | X – axis | Y – axis | Z - axis
A –mode | Depth | Amplitude | 
B- mode | Depth |  | Amplitude
M- mode | Time | Depth |